# ERC Advanced Grant 2020

# Research proposal [Part B1]

# (Part B1 is evaluated both in Step 1 and Step 2,

# Part B2 is evaluated in Step 2 only)

# Super-efficient ion capture to harness laser-hybrid accelerators for science, innovation, and society

# CaptureLhARA

Cover Page:

- Name of the Principal Investigator (PI)			: Kenneth Long

- Name of the PI's host institution for the project 		: Imperial College London

- Proposal duration in months				: 60

# X-ray therapy is central to cancer treatment and is most often delivered using a source that rotates around the patient. The energy deposited by X-rays falls exponentially with depth, limiting the dose that may be delivered to a tumour without exposing healthy tissue to unacceptably high radiation levels.

Proton and ion beams overcome the fundamental limitation of X-ray therapy because the bulk of the energy is deposited in the ‘Bragg peak’ that occurs as the beam comes to rest. This allows a large dose to be delivered to the tumour while sparing healthy tissue. The maximum instantaneous dose that can be delivered today is limited at the ion source because of the mutual repulsion of the low energy (approximately 60 keV) of the ions produced. At such low energies the repulsion between the ions causes the beam to diverge rapidly and limits the capture efficiency. I propose to overcome this fundamental limitation by using a laser to create ions with energies of up to ~15 MeV and capturing them using a strong-focusing plasma lens.

I propose to develop a novel, as-yet unproven, source of proton and ion beams by exploiting state-of-the art technologies that to-date have only been demonstrated independently. The particle flux produced by a high-power short-pulse laser has a broad energy spectrum, is highly divergent, and contains a variety of particle species. I will construct a highly efficient capture system that exploits novel electron-plasma lenses to turn the divergent laser-generated proton and ion flux into a beam. To prove the principle of the technique, I will use my system to initiate a programme of radiobiology exploiting the laser-hybrid technique.

A system capable of delivering high instantaneous dose rate will have broad applicability. The laser-hybrid technique will allow a compact facility to deliver radiotherapy in completely new regimes, exploiting a variety of ion species, energy spectra, time structures, and spatial configurations at ultra-high dose-rate.

# 2000 of 2000 characters

Explain and justify the cross-panel or cross domain nature of your proposal, if a secondary panel is indicated in the online proposal submission forms. There is a limit of 1000 characters, spaces and line breaks included.

Section a: Extended Synopsis of the scientific proposal (max. 5 pages, references do not count towards the page limits)

1.	Mission Need

Cancer is the second most common cause of death globally [1].  In 2018, 18.1 million new cancer cases were diagnosed, 9.6 million people died of cancer-related disease, and 43.8 million people were living with cancer [2,3].  It is estimated that 26.9 million life-years could be saved in low- and middle-income countries (LMIC) if radiotherapy capacity could be scaled up [4]. Novel techniques incorporated in facilities that are at once robust, automated, efficient, and cost-effective are required to deliver the required scale-up in provision [4].

Radiation therapy (RT), a cornerstone of cancer treatment, is used in over 50% of cancer patients [5].  The most frequently used types of radiotherapy employ photon or electron beams with MeV-scale energies.  Proton and ion beams offer substantial advantages over X-rays because the bulk of the beam energy is deposited in the Bragg peak.  This allows dose to be conformed to the tumour while sparing healthy tissue and organs at risk.

The benefits of proton and ion-beam therapy (PBT) are widely recognised.  PBT today is routinely delivered in fractions of ~2 Gy per day over several weeks.  Usually, each fraction is delivered at a low dose rate (<10 Gy/min) deposited uniformly over the target treatment volume.  Exciting evidence of therapeutic benefit has recently been reported when dose is delivered at ultra-high dose-rate, >40 Gy/s (“FLASH” RT) [6, 7], or provided in multiple microbeams with diameter less than 1 mm distributed over a grid with inter-beam spacing of ~3 mm [8].  However, the radiobiological mechanisms by which the therapeutic benefit is generated are not properly understood.

I have established a multi-disciplinary consortium dedicated to the creation of the “Laser-hybrid Accelerator for Radiobiological Applications” (LhARA) [9].  LhARA is conceived as the new, highly flexible, source of radiation that is required to explore the vast “terra incognita” of the mechanisms by which the biological response to ionising radiation is determined by the physical characteristics of the beam [10].  The technologies demonstrated in LhARA have the potential to be developed to allow PBT to be delivered in completely new regimes.  Through the delivery of LhARA the consortium seeks to:

- Create the capability to deliver particle-beam therapy in completely new regimes by combining a variety of ion species in a single treatment fraction and exploiting ultra-high dose rates, multiple ion species, and novel spectral and spatial-fractionation schemes; and

- Make “best in class” treatments available to the many by demonstrating in operation a system that incorporates dose-deposition imaging in a fast feedback-and-control system thereby reducing the requirement for an extensive beam-delivery system and large gantry.

LhARA will exploit a laser to create a large flux of protons or light ions which are captured and formed into a beam by strong-focusing plasma lenses.  The laser-driven source allows protons and ions to be captured at energies significantly above the proton- and ion-capture energies that pertain in conventional facilities, thereby evading the current space-charge limit on the instantaneous dose rate that can be delivered [10].  The plasma (Gabor) lenses provide the same focusing strength as high-field solenoids at a fraction of the cost.

The success of the LhARA initiative rests on the efficient capture of the laser-driven ion flux.  While the production of protons and light ions using a high-power laser has been demonstrated [11] and a number of plasma-lens schemes are under development [12], the integration of a laser-driven source with a strong focussing plasma lens has not been attempted to date.  Therefore, with this proposal I seek the resources to:

- Prove the principle of laser-driven injection of a large instantaneous flux of high-energy protons into a novel strong-focusing plasma lens;

- Demonstrate the efficient capture and transport of the laser-created ion beam; and

- Carry out initial in-vitro radiobiological measurements using the laser-hybrid technique.

The programme I propose will prove in operation the basis of the laser-hybrid technique and lay the foundations for the development of laser-hybrid accelerator systems capable of serving the particle-beam therapy facilities of the future.  Furthermore, by evading the current space-charge limit, I will create a new proton- and ion-beam source with wide application in future high-power accelerator facilities.

2.	Ground-breaking enabling technologies and challenges

Recent advances in the laser-driven acceleration of particles at Imperial, Strathclyde, and elsewhere, make it possible to conceive of a novel, hybrid accelerator system in which laser interactions drive the creation of a large flux of protons or light ions which are captured and formed into a beam.  The proposed combination of laser-driven source and plasma-lens focusing, techniques for which prototypes have been built at Imperial, will remove the instantaneous-flux limitation of conventional ion sources to allow measurements over a wide range of dose-rate using a variety of ion species in a single facility.  The successful exploitation of the proof-of-principle system proposed here will drive a step-change in capability that can be exploited to the benefit of high-intensity pulsed proton and ion beams for scientific and industrial application and may be developed to allow particle-beam therapy to be delivered in completely new regimes.

I propose to bring together novel technologies, developed in unrelated fields, to demonstrate and exploit a new concept for the creation of proton and ion beams.  This programme carries significant technical risk as it includes the proof-of-principle demonstration of key accelerator technologies.  A holistic, system-level approach will be taken to the integration of the laser-accelerator, plasma lens, instrumentation, and dose-measurement systems.  The innovative work I propose to carry out will lay the foundations for the systematic development of the laser-hybrid technique.  I will ensure that the successful demonstration of the laser-hybrid technique realised using the resources requested here will be exploited by the LhARA consortium to deliver the first demonstrator system based on the laser-hybrid technique.

The great advantage of the laser-driven source over conventional sources is that the protons or light ions are injected into the first accelerator structure at high energy (up to 15 MeV).  However, the laser-driven source creates an intense, highly divergent flux.  The natural divergence of the beam at source is exacerbated by the mutual repulsion of the ions.  This mutual repulsion is referred to as the “space-charge effect”.  Two novel, strong-focusing Gabor lenses will be used to capture and focus the highly divergent flux and form it into a beam.  Each Gabor lens contains an electron plasma contained by crossed electric and magnetic fields.  The negatively charged plasma provides a strong focusing effect for positive ions and efficiently manages the space-charge effect.  A prototype Gabor lens of the type required for the application proposed has been constructed at Imperial.

The beam emerging from the Gabor-lens capture system will be characterised using state-of-the art diagnostics.  <Sentences summarising discussion on, e.g., MediPix from Alex Howard.> The dose to the sample will be measured shot-by-shot using novel micro-dosimeters that have been developed at the National Physical Laboratory and a fast feedback system will be implemented to allow the dose-rate to be adjusted to that required for a particular experiment.  An automated, computer-controlled system with remote monitoring will be implemented to allow samples to be irradiated without the need for operator intervention in the radiation area.  This will maximise the flexibility of the system in operation and minimise the beam-time lost in sample manipulation.  The system-level integration of the novel laser-hybrid proton and ion source with the instrumentation, dosimetry, and real-time feedback and control is essential for the exploitation of the technique in LhARA and other clinical, scientific, and industrial applications.

3.	Awareness and context

3.1 The unique advantages of the laser-hybrid approach

Beam is extracted at fixed energy from conventional cyclotrons such as those in use at particle-beam therapy centres in the Europe.  The dose rate can be varied by adjusting the bunch intensity and the pulse length at the ion source.  However, the instantaneous dose rate is limited by source brightness, losses at injection, bunch length, and losses during acceleration and extraction.  A reasonable estimate of the maximum bunch intensity that can be achieved is approximately 1.2  107 protons-per-bunch.  In order to vary the beam energy a degrader is used to intercept the beam after extraction.  Multiple Coulomb scattering and energy straggling cause a significant reduction in beam quality.  This can be recovered through collimation with an unavoidable loss in beam intensity.  Changing the extraction energy is possible but is difficult as even a small change in magnet saturation affects the isochronous acceleration.  Variable-energy extraction achieved by varying stripper-foil position is possible for H— ions.  However, the application of this technique to multiple ion species is challenging and is likely to require multiple extraction ports leading to issues in commissioning and operation.  The acceleration of more than one ion species is possible by harmonic operation and tuning of the magnetic field but is limited to ions with specific charge-to-mass ratios and cannot accommodate a full ion spectrum.

Conventional synchrotrons, such as that used, for example, at CNAO and MedAustron, can deliver beam over a range of energies.  The dose delivered is controlled through the process of slow extraction which takes place over a period of around 1 s.  The instantaneous intensity that can be achieved within a time window equivalent to the cyclotron bunch length considered above is approximately 4  108 protons-per-pulse.  The MedAustron synchrotron has two ion sources, the first delivers H+ ions, the second C4+ ions.  These ions have the same charge-to-mass ratio and, after short, ion-specific transfer lines, are injected into a single radiofrequency quadruple (RFQ).  Electrons are stripped from the ions at injection.  The use of other types of ion with the same charge/mass is possible in principle.

The laser-hybrid proton and ion source offers a route to a compact, cost-effective solution for the delivery of proton and ion beams over a range of energy, dose-rate, and ion species.  The design study performed by the LhARA consortium has demonstrated that the source proposed here can be used as the basis of a facility in which the intensity of the bunch is varied by changing the laser-beam parameters.  The dose can be delivered in a single 10 ns bunch or over 600 bunches at 10 Hz repetition rate each with an intensity of ~109 protons-per-pulse.  The energy can be varied by collimating the beam delivered by the very strong energy-dependent electrostatic focusing provided by the plasma lenses.  Many species of ion can be accelerated in LhARA simply by changing the target.  The laser-hybrid technique has the potential to become a uniquely flexible source for scientific, industrial, and biomedical applications.

3.2 Complementary initiatives to create laser-driven beams for radiobiology

European laboratories have established leading roles in the development of laser-driven sources for biomedical application.  A number of groups are investigating the challenges related to the production and capture of ion beams with the desired characteristics.  In Germany, the effort is led by the Helmholtz Zentrum Dresden-Rosendorf (HZDR), the Technical University of Munich, and GSI Helmholtzzentrum für Schwerionenforschung (GSI).  Primary experiments are also beginning at the ELIMAIA-ELIMED facility in the Czech Republic.  The ELIMED project, a multi-billion Euro collaboration to build and exploit next generation laser sources, has a dedicated programme for radiobiology research based on a laser-accelerated source.  This project has close collaborations with researchers from a number of institutes in Italy.  At the J-KAREN-P facility in Japan, with which CCAP members have an ongoing collaboration, the focus is on developing carbon ions for particle treatment.

While laser-driven ions have been posited as a source for radiobiological studies for a number of years, to date the ion energies, energy spread, and shot-to-shot variability of the flux produced has meant that such sources were not suitable to serve a radiobiology programme.  A number of radiobiology experiments have been conducted with laser-accelerated ions, but these have been limited in scope to single-shot illumination, either due to low laser repetition rates or the lack of a target suitable for operation at high repetition rate.  Most of these experiments have been performed on facilities for which radiobiology has not been the highest priority.  The UK has been a pioneer in the study of laser-accelerated ions for hadron therapy.  The A-SAIL collaboration explored the underlying fundamental physics required to produce the proton and ion beams we require.  The programme we propose will continue to benefit from the advances made in the UK and elsewhere.

The initiatives outlined above exploit conventional magnetic quadrupole or solenoid focusing to capture and transport the laser-generated beam.  The capture and transport efficiency of the plasma-lens-based solution we propose is superior and we therefore expect to be able to deliver beams with a substantially higher instantaneous dose.  In addition, once developed the capital cost of a Gabor lens of the strength required to capture and focus low-energy proton and ion beams is expected to be significantly smaller than that of the equivalent high-field solenoid magnet.

4.	Laser-hybrid ion-capture proof-of-principle system

To prove the principle of the laser-hybrid ion-capture scheme requires the successful integration of the laser-driven proton source with the strong-focusing plasma lens in a system that produces a beam that can be precisely characterised and exploited for the exposure of in-vitro biological samples.  The programme that I propose will therefore address the key challenges: stable operation of a plasma-lens capture system; integration of the first plasma lens with the laser-target chamber; and the measurement of the beam parameters at appropriate points along the beamline.

My design for the proof-of-principle system will exploit the XXX laser at the University of YYY.  I will design and build a vacuum vessel in which the short, intense laser pulse will be focused onto a foil, impinging at an angle of 45o so that protons will be accelerated through the “target-normal sheath acceleration” mechanism.  The intense electric field generated on the front surface of the target accelerates the surface electrons, driving them into the material.  Electrons which gain sufficient energy will traverse the target, ionising the material as they go.  A strong space-charge electric field, the ‘sheath’, is created as the accelerated electrons exit the rear surface of the target.  This field in turn accelerates protons from the surface of the target.  Sheath-acceleration has been shown to produce ion energies greater than 40 MeV/u at the relevant laser intensities.  In my design the first plasma lens is integrated with the target vessel.  A re-entrant cone points back to the laser-target interaction point such that the aperture that connects the target vessel to the plasma lens is as small as possible, thereby allowing the vacuum pressure in the target to be different to that in the plasma lens.  An energy-selected beam of low divergence will then be produced using a further two plasma lenses and two collimators.  The beam will be sampled between each beam-line element with a ZZZ detector placed on a retractable mount.  The total dose delivered to the sample position will be determined using a ??? dosimeter.

5.	Programme of work

I propose to design, construct, and operate the novel laser-hybrid source outlined above, thereby demonstrating the feasibility of the technique and laying the technological foundations for its exploitation.  To deliver the scientific return, and to realise the full benefits of the laser-hybrid technique, requires the validation of the particle-production target and strong-focusing plasma lens and the integration of these novel components in the proof-of-principle system.  I have therefore created a project structure which will address ab initio the principal technical risks:

- Laser-driven proton and light-ion source:

The principle of particle production by laser interactions has been demonstrated at Imperial, Strathclyde and elsewhere.  The principal risk is that the laser system will not deliver a sufficient flux into the aperture of the first plasma lens;

- Proton/ion-beam capture and initial focus:

Plasma-lens focusing elements for space-charge dominated beams have been demonstrated and a prototype of the type required for the present application is being studied at Imperial.  The principal risk is that the focusing strength required for the optimal capture efficiency cannot be delivered;

- Integration of beam, diagnostics, dosimetry and biological end-station:

The integration of the novel components in the proof-of-principle system requires the harmonisation of the vacuum requirements at the laser-driven target with that of the plasma lens system, and the accommodation of the beam-line diagnostics and dosimetry.  The principal risk is that the high vacuum required in the plasma lenses cannot be achieved in the presence of the debris created in the laser-target interaction; and

- Characterisation and exploitation:

To characterise the beam requires that beam parameters (energy, dose, spot size) be measured for each shot in real time.  The control system is required to ensure that the beam quality delivered to the sample is within the required tolerance.  The principal risk to the successful integration of the system is that the control system will take too long to respond to variations in the beam quality.

I therefore propose to execute the project by establishing four work packages through which the principal technical risks will be addressed.

The laser-target system will be developed at Imperial College London and tests will be carried out on Imperial’s Cerberus laser.  The personnel required to provide the laboratory space and the services required for the tests will be provided by Imperial College.  The plasma-lens development will be carried out under my direction by personnel from Imperial College London and the University of Strathclyde.  Local light-engineering companies will be engaged appropriately in the construction of laser-driven target and plasma-lens prototypes.  Initial tests of the plasma lenses will take place at Strathclyde University.  System integration will take place at XXX.  In the final phase of the project in-vitro irradiations will be carried out under my direction using biological samples provided by members of the LhARA consortium.

The work content of each of the four work packages is outlined below.  I seek to create the nucleus of the team that will take the programme forward to realise the vision of the LhARA consortium.  I therefore propose to recruit early-career researchers into each of the four work packages.  For each work package I have recruited an internationally recognised expert who will, under my direction, mentor and advise the early-career researchers in the execution of the programme.

5.1 Workpackages

5.1.1 Physics simulation

I will exploit state of the art particle-in-cell codes to demonstrate that the strong-focusing plasma-lens system proposed here is capable of delivering proton and ion beams of large instantaneous flux.

Existing particle-in-cell codes will be used to evaluate the particle production from the laser-driven source and for the dynamic simulation of the electron-plasma lens.  The results of these simulations will be used to develop the detailed simulation of the proton beam from the production point through the beam line.  The beam-line simulation will include consideration of the laser- and particle-beam diagnostics and the effect of space charge.

5.1.2 Plasma-lens design, build, and validation

I will design and build three plasma-lenses and characterise their performance in stand-alone tests.

I will lead a revision of the design of the plasma lens that will exploit the experience gained with the prototype lens at Imperial.  I will oversee manufacture and commissioning of the first new Gabor lens in the first year of the project.  The full project plan defines a programme of risk mitigation the execution of which will be prioritised.  Once the performance of the plasma-lens system has been validated, I will lead the project team in the construction of the remaining lenses and their validation.

5.1.3 Integration design, build, and validation

I will deliver the integrated laser-target vessel and the plasma-lens capture and transport system on the XXX laser at the University of YYY.

The critical engineering challenge is the integration of the first plasma lens with the laser-target vessel.  I will lead the design team in the completion of a comprehensive design report during the first year of the project.  I will then oversee the manufacture of the components of the system and its installation on the laser.

5.1.4 Characterisation and exploitation

I will characterise the beam by measuring the evolution of the energy and spatial distributions of the particle flux along the beamline.  I will measure the dose delivered at the end of the beam line and use these measurements to determine the dose delivered to the cell cultures in the proof-of-principle irradiation of biological samples.

The construction of the laser-target vessel will start as soon as the integrated design is complete.  The target drive and the target vessel will be completed in the second year of the project so that the first tests with the laser can begin.  The characterisation of the particles will begin with measurements of the spectra produced close to the foil.  As components are added to the beamline the measurements will be made to determine the evolution of the beam as it passes along the channel.  The measurements will culminate in the fifth year of the project with the irradiation of cells.

5.2 Timeline and milestones

A full project plan is available at the LhARA WWW site.  The principal milestones extracted from the project plan are given below.  The date of the milestone is measured in months after the start of the project.

| Milestone | Date | Workpackage | Milestone |
| --- | --- | --- | --- |
| M1 | 12 | 1 | Time-resolved, 2D & 3D simulations of particle production spectra |
| M2 | 12 | 1 | Initial 3D time-resolved simulation of plasma-lens dynamics |
| M3 | 12 | 2 | Full design of Gabor lens prototype 1 |
| M4 | 12 | 3 | Laser-target/capture system-integration design report |
| M5 | 18 | 2 | Tests with Gabor lens prototype 1 begin |
| M6 | 24 | 2 | Tests with Gabor lens prototype 2 begin |
| M7 | 30 | 3,4 | Laser-target vessel complete, initial evaluation of particle spectra begin |
| M8 | 36 | 2,3,4 | Integration of first plasma lens with laser-target vessel, test begin |
| M9 | 48 | 2,3,4 | Integration of full system complete; system characterisation begins |
| M10 | 54 | 4 | Irradiation of biological samples begin |
| M11 | 60 | 1,2,3,4 | Final report on activities and achievements ready |

5.3 Justification of resources

To be added with first overview of resources.

5.4 The project team

As Principal Investigator and Project Leader I will direct the execution of the project through the four work-packages outlined above.  I place particular importance on establishing an excellent and expert team that can take forward the programme initiated through this award.  I have therefore recruited international experts who will, under my direction, provide advice to and mentor the early career researchers in the development of the programme.

The key personnel and the roles they play in the project team are:

- PI and project leader: Prof. Kenneth Long

- Physics simulation: Prof. Zulfikar Najmudin

- Plasma lens design, build, and validation: Dr. Colin Whyte

- Integration design, build, and validation: Dr. Jaroslaw Pasternak

- Characterisation and exploitation: Dr. Alexander Howard, Dr. Ajit Kurup

7.	Summary

With this proposal I seek the resources to demonstrate in operation the principle of the laser-hybrid accelerator technique.  Through the demonstration of the efficient capture of the laser-driven proton beam with a strong-focusing plasma lens I will evade the instantaneous dose-rate limit of current facilities used for biomedical application.  At the same time, I will establish a new technique for the creation of high-flux proton and ion beams for a wide variety of applications.  It is my intention to use the proof-of-principle demonstration of the laser-hybrid technique as the springboard for the delivery of LhARA which will allow radiobiological studies and eventually radiotherapy to be carried out in completely new regimes and will develop the capabilities necessary to drive a paradigm shift in the delivery of particle beam therapy.

References

Instructions for completing Part B1 can be found in the ‘Information for Applicants to the Advanced Grant 2020 Call’.