## Slide 1: Simulation to prove the use of Photoacoustic Imaging for Bragg peak reconstruction
J McGarrigle, K Long, B Cox, J Bamber

## Slide 2: Photoacoustic Imaging
Biomedical imaging modality that uses ultrasound pulses generated by light beams incident on a surface.
It is a hybrid modality combining the high contrast and spectroscopic based specificity of optical imaging with the high-speed resolution of ultrasound imaging with the high special resolution of ultrasound imaging.
Figure 1. Examples of acoustic pulse graphs and their corresponding dose deposition profiles. (Yousefi, 2015)

## Slide 3: Photoacoustic Imaging
Uninterrupted pulsed beam of electromagnetic radiation incident on a material, creating a temperature increase that triggers thermoelastic expansion and the build-up of a differential pressure distribution.
This pressure distribution creates acoustic pressure waves.
Figure 2. A schematic of how acoustic waves are generated from a pulsed laser and how the acoustic images are generated from the resulting signals (Manwar, Zafar and Xu, 2020)

## Slide 4: Existing experiments
(a) Schematic of the 2D water phantom using a acoustic wave sensor to characterize the proton dose distribution.
(b) Resulting proton beam scan intensity. (Arrows mark the position of the maximum).
(c) Line profile of the Bragg peak in x and y direction.
(d) Bragg beak characterization with Al absorber. (Arrows mark the maximum of the Bragg peak).
(e) Line profile of the Bragg peak in x and y direction.
Figure 3. Shows the experimental setup for 2D ionoacoustic imaging of proton beams.

## Slide 5: Key ideas
Create a computer simulated ‘Smart Phantom’.
Examine thermoacoustic signals that are generated due to localised energy loss of ion beams in tissue.
Present a way to determine the exact parameters needed to deliver a focused beam of radiation to a tumour in which the energy flux of the radiation deposited can be quantitatively imaged
Use Geant4 simulations to create a dose profile.
Use k-wave to examine the thermoacoustic signals.
Show that acoustic imaging is a viable alternative method of parameterising a beam that could localise the Bragg peak and measure deposited dose in vivo.
Figure 4. Graph to show the Bragg-Peak of protons overlapping the tumour for efficient radiotherapy, without an exit slope, compared to x-ray-based radiotherapy. (Proton therapy dosimetry, 2021)

## Slide 6: Geant4
Geant4 hadron therapy simulation package is a coding software that allows the ‘tracking’ of particles through mediums while recording the time-frame.
Monte Carlo methods to calculate the energy deposited in the water due to the Bragg peak
Follow a particle through a medium and record the energy deposition profile to see how much energy is deposited in a certain volume in a time-resolved state. This will indicate the energy that corresponds to a certain volume of water.
Figure 6. A flow chart to show the process of Geant4 traking particles through a medium, detailing the stages of energy deposition and the creation of new particles. (Pokorski and Ribon, 2014)
Figure 5. A diagram to show the experimental set up of a phantom tank with a 17cm^2 with a 17cm^2 beam window (Barber et al., 2018)

## Slide 7: K-wave
Used to simulate the entire ionoacoustic propagation and detection model, including proton energy transfer to the medium, generation of acoustic waves and the propagation of acoustic waves until detection.
Use the time-varying power density in each voxel from Geant4 as the acoustic input
The resulting acoustic pressure fields can then be computed, a maximum output found, positions detected, and dose deposition image simulated.
Equations of motion, continuity, and state assuming a lossless medium:

## Slide 8
Figure 7. Three ‘binned’ power deposition histograms in x, y and z, with 1mm bins.
Results

## Slide 9
Figure 8. Three ‘binned’ energy and power histograms diagrams in r, phi and z, with bins of width 0.25mm in R, 0.95744681 rads in Phi and 1mm in Z.
Results

## Slide 10: Conclusions so far
Overcome usual limitations in imaging by using photoacoustic imaging, eliminating limitations such as optical scattering.
Geant4 computer programming on a simulated SmartPhantom, to show that it is possible to map an energy deposition profile, a Bragg peak and derive beam parameters by using photoacoustic imaging in order to overcome issues of mapping beam profiles in current methods such as optical scattering.
So far a Bragg Peak reconstruction using cartesian coordinates appears to be possible as an output of the k-wave simulation, still awaiting cylindrical results.

## Slide 11: Experiment plans
Experiment includes a water phantom to measure radiation in a controlled environment, as a substitute for human muscle and soft tissue.
This will be a real experiment to hopefully replicated the results from the proof of principle simulation.
As shown in figure 9, it is a transparent water tank with a window for the beam to travel through and an ionisation chamber which can be moved around in order to measure the dose rate at different coordinates.
Figure 9. A representation of a water phantom, the basis 30cm^3 water of the simulation, showing the tank in green and the scintillating optical fibre in red. (Barber et al., 2018)

## Slide 12: Further experiments
Future experiments would be useful in order to explore the benefits of using this method with different types of ions that might produce a sharper Bragg peak.
Figure 10. Illustration of difference between carbon ions and protons, showing contents and mass radio.
Figure 11. Bragg peak comparison for proton and carbon ions

## Slide 13: Questions?