## Slide 1
Focused Proton Beam RCF
X THE UNIVERSITY OF STRATHCLYDE
1
PMQs
Input proton beam to PMQs
Output proton beam from PMQs
Notes: This is a CAD model of said experiment.
We plan to install a capture beamline to guide the proton source to a cell irradiation station
This will involve a permanent magnet quadrapole system as seen on left, and a cell irradiation end station which will sit at target normal in the TP line.
Very exciting application experiment for Bunker B

## Slide 2
Focused Proton Beam RCF
X THE UNIVERSITY OF STRATHCLYDE
2
PMQs
Comparing the input spectra to the output we see a conversion efficiency of the proton capture at 8-10 MeV of 1.16 %.
Zooming in to 10 MeV, we see a conversion efficiency of 4.21 %
Notes: This is a CAD model of said experiment.
We plan to install a capture beamline to guide the proton source to a cell irradiation station
This will involve a permanent magnet quadrapole system as seen on left, and a cell irradiation end station which will sit at target normal in the TP line.
Very exciting application experiment for Bunker B