## Slide 1: 20/08/26 Josie McGarrigle
SCAPA/ELI/
POPLAR UPDATE
Characterising proton source spectra & plans for the PoPLaR beamline

## Slide 2
METHOD
Characterisation of the sources (SCAPA & ELI)
1
Measured spectra
Select valid experimental shots, remove missing diagnostics and interpolate onto one common energy grid.
2
Proton- Energy plot analysis
Use spectra to predict Te range, find Kmin and Kax before the fall off region.
3
Normalise and compare
Bin each simulation, normalise to the measured data, and compute goodness of fit.
4
Validate
Inspect the minimum, the overlay, and the residuals before quoting a source Te.

## Slide 3
SCAPA CHARACTERISATION
SCAPA: source with different Te values around the predicted value
SCAPA Run 27: simulated source spectra across Te = 3.5–10 MeV

## Slide 4
SCAPA VALIDATION
SCAPA validation: residuals support the selected source
SCAPA best-fit overlay: Te = 5.5 MeV
χ² scan: minimum at 5.5 MeV

## Slide 5
ELI CHARACTERISATION
ELI: source with different Te values around the predicted value
ELI Run 128: simulated source spectra across Te = 0.20–0.30 MeV

## Slide 6
ELI VALIDATION
ELI validation: overlay, residuals and minimum agree
ELI best-fit overlay: Te = 0.25 MeV
χ² scan: minimum at 0.25 MeV

## Slide 7
COMBINED RESULT
Side-by-side outcome: both sources are now parameterised
ELI-Beamlines Run 128 best fit
SCAPA Run 27 best fit
ELI: best Te = 0.25 MeV; χ²/ndof ≈ 0.97
SCAPA: best Te = 5.5 MeV; Kmax ≈ 14.2 MeV

## Slide 8
SCAPA
SCAPA: updated source with PoPLaR set up
T = ~ 4%
SCAPA 2 quad set up

## Slide 9
SCAPA
SCAPA: trialing a vertical arc- first trial
T = ~ 0.4%
SCAPA 2 quad 2 dipole set up

## Slide 10
SCAPA
SCAPA: trialing a vertical arc- optimising the dipoles
T = ~ 0.71%
SCAPA 2 quad 2 dipole set up
Dipoles- 1.6 T/m, 0.2m length

## Slide 11
SUMMARY
Next
Both ELI and SCAPA now have a reproducible source-temperature characterisation workflow, dipole arc has been trialed as a potential for a vertical beam.
→
ELI-Beamlines
Locate information about low energy beamline after the source.
Simulate the set up, try to recreate measurements/plots.
→
SCAPA
Optimise dipole set-up after fixed line (add quads? move transmission calculation point?)
Optimise existing setup and vertical arc together.